## Nxtra SS
Nxtra SS Ground Floor
Sl.N | Feeder Details | Opening reading in KWH | Closing reading in KWH | Consumption
1 | Nxtra Single VCB-Incomer
2 | 7VCB-Incomer
3 | 7VCB-Spare Tranformer Feeder
4 | 7VCB-Transformer-7
5 | 7VCB-Transformer-3
6 | 7VCB-Transformer-4
7 | 7VCB-Transformer-5
8 | 7VCB-Transformer-6
9 | LTP3-Transformer-6
10 | LTP3-OG To 7FL LTPanel 3B
11 | LTP3-OG To RM-4B
12 | LTP3-Transformer-5
13 | LTP3-OG To RM-5A
14 | LTP3-OG To RM-3B
15 | LTP3-DG IC-D
16 | LTP1-Transformer-7
17 | LTP1-OG GF Freshair Panel-A
18 | LTP1-OG To GF Smoke Exhaust Panel-A
19 | LTP1-OG To GF MLDB Panel
20 | LTP1-OG TO Fire Hydrant Panel
21 | LTP1-Spare (2F3)
22 | LTP1-Spare Feeder 1600A (4F)
23 | LTP1-IC From Transformer-1
24 | LTP1-DG IC-A
25 | LTP1-OG To RM-2B
26 | LTP1-OG To RM-1B
27 | LTP1-IC From Transformer-2
28 | LTP1-OG To MPDB Panel
29 | LTP1-OG To Spare
30 | LTP1-OG To GF Freshair Panel-B
31 | LTP1-OG To GF Smoke Exhaust Panel-B
32 | LTP1-Spare Feeder 1600A (16F)
33 | LTP1-DG IC-B
34 | LTP1-OG To RM-2A
35 | LTP1-OG To RM-1A
36 | LTP2-OG To RM-3A
37 | LTP2-IC From Transformer-4
38 | LTP2-OG To 7FL LTPanel-3A
39 | LTP2-IC From Transformer-3
40 | LTP2-DG IC-C
41 | LTP2-OG To RM-4A
42 | LTP2-OG To 4F LTPanel-3A

## DG Sync Panel
Sync Panel Ground Floor
Sl.N | Feeder Details | Opening reading in KWH | Closing reading in KWH | Consumption
1 | DG Sync-IC From DG1
2 | DG Sync-DG6 PCC
3 | DG Sync-IC From DG6
4 | DG Sync-DG5 PCC
5 | DG Sync-IC From DG5
6 | DG Sync-DG3 PCC
7 | DG Sync-IC From DG3
8 | DG Sync-DG4 PCC
9 | DG Sync-IC From DG4

## Airtel SS
Airtel SS Ground Floor
SI.NO | Feeder Detail | Opening reading in KWH | Closing reading in KWH | Consumption
1 | Airtel Singe VCB - Incomer
2 | Airte 3VCB - Incomer
3 | Airtel 3VCB-OG To Transforment1
4 | Airtel 3VCB-OG To Transforment2
5 | LTP1A-IC From Transformer1
6 | LTP1A-IC From DG1
7 | LTP1B-IC From Transformer2
8 | LTP1B-IC From DG2
9 | DG1 PCC
10 | DG2 PCC